## Coherent Sampling Calculator
LEGEND
| Symbol | Description
| fDSAMPLE | Desired sampling frequency
| fDIN | Desired input frequency
| NRECORD | Number of data points used in your FFT record
| SIGFIG | Signal generator resolution in decimal places after MHz
| NDWINDOW | Calculated, number of input cycles in the desired sampling windown (tWINDOW)
| fDBIN | Calculated, desired FFT bin width
| tDWINDOW | Calculated, desired sampling window
| NCWINDOW | Calculated, number of input cycles in the coherent sampling window
| fCBIN | Calculated, coherent FFT bin width
| tCWINDOW | Calculated, coherent sampling window
| fCSAMPLE | Calculated, coherent sampling frequency
| fCIN | Calculated, coherent input frequency
| ENTER fDSAMPLE (MHz): | ENTER fDIN (MHz): | ENTER NRECORD: | ENTER SIGFIG: | CALCULATED NDWINDOW: | CALCULATED fDBIN (MHz): | CALCULATED tDWINDOW (µs): | CALCULATED NCWINDOW: | CALCULATED fCBIN (MHz): | CALCULATED tCWINDOW (µs): | CALCULATED fCSAMPLE(MHz): | CALCULATED fCIN (MHz):
CASE 1 | 65 | 32.1 | 8192 | 4 | 4063.2911 | 0.0079346 | 126.0308 | 4065 | 0.0079 | 126.5823 | 64.7168 | 32.1135
CASE 2 | 65 | 32.1 | 8192 | 5 | 4047.9193 | 0.0079346 | 126.0308 | 4049 | 0.00793 | 126.10340 | 64.96256 | 32.10857
CASE 3 | 65 | 32.1 | 8192 | 6 | 4045.3686 | 0.0079346 | 126.0308 | 4047 | 0.007935 | 126.023945 | 65.003520 | 32.112945
CASE 4 | 65 | 32.1 | 8192 | 7 | 4045.5726 | 0.0079346 | 126.0308 | 4047 | 0.0079346 | 126.0302977 | 65.0002432 | 32.1113262
CASE 5 | 65 | 32.1 | 8192 | 8 | 4045.5879 | 0.0079346 | 126.0308 | 4047 | 0.0079346 | 126.03077419 | 64.99999744 | 32.11120479
CASE 6 | 65 | 32.1 | 1024 | 8 | 505.6985 | 0.063477 | 15.7538 | 507 | 0.063477 | 15.75384677 | 64.99999744 | 32.18261592
CASE 7 | 65 | 32.1 | 2048 | 8 | 1011.397 | 0.031738 | 31.5077 | 1013 | 0.031738 | 31.50769355 | 64.99999744 | 32.15087764
CASE 8 | 65 | 32.1 | 4096 | 8 | 2022.7939 | 0.015869 | 63.0154 | 2023 | 0.015869 | 63.01538710 | 64.99999744 | 32.10327022
CASE 9 | 65 | 32.1 | 8192 | 8 | 4045.5879 | 0.0079346 | 126.0308 | 4047 | 0.0079346 | 126.03077419 | 64.99999744 | 32.11120479
CASE 10 | 65 | 32.1 | 16384 | 8 | 8091.1655 | 0.0039673 | 252.0615 | 8093 | 0.0039673 | 252.06123071 | 65.00007936 | 32.10727797
CASE 11 | 65 | 32.1 | 32768 | 8 | 16182.3718 | 0.0019836 | 504.1231 | 16183 | 0.0019836 | 504.12373213 | 64.99991552 | 32.10124612
CASE 12 | 65 | 32.1 | 65536 | 8 | 32364.7436 | 0.00099182 | 1008.2462 | 32365 | 0.00099182 | 1,008.24746426 | 64.99991552 | 32.10025430
CASE 13 | 65 | 5 | 8192 | 6 | 630.1197 | 0.0079346 | 126.0308 | 631 | 0.007935 | 126.023945 | 65.003520 | 5.006985
CASE 14 | 65 | 10 | 8192 | 6 | 1260.2394 | 0.0079346 | 126.0308 | 1261 | 0.007935 | 126.023945 | 65.003520 | 10.006035
CASE 15 | 65 | 15 | 8192 | 6 | 1890.3592 | 0.0079346 | 126.0308 | 1891 | 0.007935 | 126.023945 | 65.003520 | 15.005085
CASE 16 | 65 | 20 | 4096 | 6 | 1260.3189 | 0.015869 | 63.0154 | 1261 | 0.015869 | 63.015943 | 64.999424 | 20.010809
CASE 17 | 65 | 25 | 8192 | 6 | 3150.5986 | 0.0079346 | 126.0308 | 3151 | 0.007935 | 126.023945 | 65.003520 | 25.003185
CASE 18 | 65 | 30 | 8192 | 6 | 3780.7183 | 0.0079346 | 126.0308 | 3781 | 0.007935 | 126.023945 | 65.003520 | 30.002235
CASE 19 | 65 | 35 | 8192 | 6 | 4410.8381 | 0.0079346 | 126.0308 | 4411 | 0.007935 | 126.023945 | 65.003520 | 35.001285
CASE 20 | 10 | 32.1 | 8192 | 8 | 26296.3873 | 0.0012207 | 819.2 | 26297 | 0.0012207 | 819.20209716 | 9.99997440 | 32.10074790
CASE 21 | 20 | 32.1 | 8192 | 8 | 13148.1398 | 0.0024414 | 409.6 | 13149 | 0.0024414 | 409.59937086 | 20.00003072 | 32.10210009
CASE 22 | 30 | 32.1 | 8192 | 8 | 8765.4385 | 0.0036621 | 273.0667 | 8767 | 0.0036621 | 273.06662006 | 30.00000512 | 32.10571837
CASE 23 | 40 | 32.1 | 8192 | 8 | 6574.0834 | 0.0048828 | 204.8 | 6575 | 0.0048828 | 204.80010486 | 39.99997952 | 32.10447575
CASE 24 | 50 | 32.1 | 8192 | 8 | 5259.2602 | 0.0061035 | 163.84 | 5261 | 0.0061035 | 163.83988256 | 50.00003584 | 32.11061872
CASE 25 | 60 | 32.1 | 8192 | 8 | 4382.7193 | 0.0073242 | 136.5333 | 4383 | 0.0073242 | 136.53331003 | 60.00001024 | 32.10205626
CASE 26 | 70 | 32.1 | 8192 | 8 | 3756.618 | 0.0085449 | 117.0286 | 3757 | 0.0085449 | 117.02859711 | 69.99998464 | 32.10326444
CASE 27 | 80 | 32.1 | 8192 | 8 | 3287.0383 | 0.0097656 | 102.4 | 3289 | 0.0097656 | 102.39994757 | 80.00004096 | 32.11915707
CASE 28 | 65 | 20 | 8192 | 6 | 2520.4789 | 0.0079346 | 126.0308 | 2521 | 0.007935 | 126.023945 | 65.003520 | 20.004135
CASE 29 | 5 | 0.975 | 64 | 5 | 12.4792 | 0.078125 | 12.8 | 13 | 0.07813 | 12.79918 | 5.00032 | 1.01569
CASE 30 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CASE 31 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CASE 32 | 65 | 20 | 8192 | 7 | 2520.606 | 0.0079346 | 126.0308 | 2521 | 0.0079346 | 126.0302977 | 65.0002432 | 20.0031266
CASE 33 | 65 | 32.1 | 8192 | 7 | 4045.5726 | 0.0079346 | 126.0308 | 4049 | 0.0079346 | 126.0302977 | 65.0002432 | 32.1271954
CASE 34 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CASE 35 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CASE 36 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CASE 37 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CASE 38 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CASE 39 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CASE 40 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CASE 41 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CASE 42 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CASE 43 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CASE 44 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CASE 45 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CASE 46 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CASE 47 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CASE 48 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CASE 49 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CASE 50 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CASE 51 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CASE 52 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CASE 53 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CASE 54 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CASE 55 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CASE 56 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CASE 57 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CASE 58 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CASE 59 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CASE 60 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CASE 61 |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Note on E25: Maxim Comment: This number should be a power of 2.
Note on F25: MAXIM Comment: Example 1: If your signal generator allows you to specify a frequency of 65.0034MHz, then enter 4. Example 2: If your signal generator allows you to specify a frequency of 65.00128948MHz, then enter 8.
Note on J25: Maxim Comment: The number is simply the next highest odd integer from the previous column. You many choose to replace this number with the next hightest prime number from the previous column.
Note on J58: Maxim not: this was changed to a prime number